## Sheet1
| Location/Department | Frequency
Air Particle Counter | Microbiology
Ampoule filling machine | Production (Pharma)
Analytical balance | Quality Control
Autoclave | Microbiology
Automatic eye drops filling, nozzle fitting and capping machine | Production (Pharma)
Cartaning Machine | Production (Sutures)
Centrifuge | Quality Control
Colloidal Mill | Production (Pharma)
Colony counter | Microbiology
Cool Incubator | Microbiology
Desicator | Quality Control
Double Door Autoclave 1000 Lit | Production (Pharma)
Double Door Hot Air Sterilizer | Production (Pharma)
Electrical balance | Production (Pharma)
ETO Sterilizer | Production (Sutures)
Filtration assembly 293 mm | Production (Pharma)
Hot air oven | Quality Control
Hot Air Sterilizer | Production (Sutures)
Hot air sterilizerLaminar flow bench HEPA 0.2 micron efficiency 99.997%, | Microbiology
Hot plate with stirrer | Quality Control
HPLC | Quality Control
Incubator | Microbiology
Injectable vial filling machine | Production (Pharma)
Ink Jet Printer | Production (Sutures)
Labeling Machine | Production (Sutures)
Liquid Particle Counter | Quality Control
Melting point apparatus | Quality Control
Micro meter | Quality Control
Microscopes | Microbiology
Ointment Processing Kettle (50 kg) | Production (Pharma)
Ointment Tube Filling Machine | Production (Pharma)
pH meter | Quality Control
pH meter Inolab | Quality Control
Polarimeter | Quality Control
Pyrex glass jars 20 Lit | Production (Pharma)
Pyrogen (LAL) test kit | Microbiology
Refractometer | Quality Control
Refrigerator | Quality Control
Sealing Machine | Production (Sutures)
Sealing machine | Production (Pharma)
SS 316 pressure vessels (60 liter) | Production (Pharma)
Stability Chamber | Quality Control
Sterility test equipment | Microbiology
Sticker Pasting Machine | Production (Sutures)
Suture coil making machine (figure “8”) | Production (Sutures)
Sutures needle attachment machine | Production (Sutures)
Tensilo meter | Quality Control
Thermostatic water bath | Quality Control
TLC apparatus | Quality Control
Top loading balance (Electronic Balance) | Quality Control
Ultrasonic water-bath | Quality Control
UV/Vis. Spectrophotometer | Quality Control
Vacuum pump | Quality Control
Vial filling machine | Production (Pharma)
Viscometer | Quality Control
Vortex mixer | Quality Control